## COMPUTATION
| Inch | 0.083333 | Second | 1.1574e-05 |  |  | GPM | 192.5134
| Feet | 1 | Minute | 0.00069444 |  |  | ft3/d | 1
| Meter | 3.2808 | Hour | 0.041667 |  |  | ft3/s | 86400
| cm | 0.032808 | Day | 1 |  |  | m3/d | 35.3952
| mm | 0.0032808 |  |  |  |  | m3/s | 3058149.2
| PSI | 2.31 |  |  |  |  | liters/s | 3058.1492
[7 empty] | liters/min | 50.9692
| Out Units = | [5 empty] | cc/s | 3.0581
| Convert = | 1 | Feet2/Day
| Convert = | 1 | Feet/Day
Casing dia. (dc) | 8 | Inch
Annulus dia. (dw) | 8 | Inch
Screen Length (L) | 200 | Feet
Depths to:
water level (DTW) | 29 | Feet
Top of Aquifer | 80 | Feet
Base of Aquifer | 400 | Feet
Annular Fill:
across screen -- | Open Hole
above screen -- | Cement
Aquifer Material -- | Karst
wetted hole | 200 | Feet
Aquifer thickness = | 320 | Feet
Aquifer thickness = | 320 | feet
Aquifer thickness = | 320 | Feet | 10
Aquifer thickness = | 320 | Feet | 32
Fraction penetrated = | 0.625
slope points | 0:01 | 12.05
| 25:08 | 15.06
FLOW RATE | 790 | GPM
FLOW RATE | 152085.5615 | ft3/d
Rc = | 0.33333 | ft
Rw = | 0.33333 | ft
Slope = | 0.97759 | Feet | /log10
Slope = | 0.97759 | feet/log10
T = | 28474.0439 | ft2/d
| 28474.0439 | Feet2/Day | 1000
| 28000 | Feet2/Day | 28
K = | 88.9814 | ft/d
| 88.9814 | Feet/Day | 1
K = | 89 | Feet/Day | 89
Absolute Shut Down
Input is consistent.
Decision | Option
0 | Water level is below Base of Aquifer
0 | Casing diameter is greater than the Annulus
0 | Top of Aquifer is deeper than Base of Aquifer
0 | Screen length is less than 1 Feet |  |  |  | 1
0 | Slope will produce a negative K
0 | K= 89 is less than extreme minimum of 0.3 for Karst |  |  |  | 0.3 | -1 | 0.3
0 | K= 89 is greater than extreme maximum of 10000 for Karst |  |  |  | 10000 | 4 | 10000
1 | Input is consistent.
Error
WARNING
Decision | Option
0
0 | K= 89 is less than likely minimum of 10 for Karst |  |  |  | 10 | 1 | 10
0 | K= 89 is greater than likely maximum of 1000 for Karst |  |  |  | 1000 | 3 | 1000
1

## DEFAULT PROPERTIES and SETTINGS
[10 empty] | Inch | Second
|  | Significant Digits = | 2 | [6 empty] | Feet | Minute
[10 empty] | Meter | Hour
|  | Output Length = | Feet | [6 empty] | cm | Day
|  | Output Time = | Day | [6 empty] | mm
|  | Number of points in list = | 100
Common Rock Properties
|  |  |  | Extreme | Likely | Likely | Extreme
Annular Fill | GROUTS |  | Aquifer Material | Kmin, ft/d | Kmin, ft/d | Kmax, ft/d | Kmax, ft/d | Rock Type | References
Gravel | Bentonite |  | Gravel | 90 | 300 | 3000 | 3000 | Unconsolidated Sedimentary Rock | 1,5
Coarse Sand | Cement |  | Sand and Gravel Mixes | 1 | 30 | 300 | 300 | Unconsolidated Sedimentary Rock | 1
Medium Sand | Backfill |  | Coarse Sand | 50 | 70 | 300 | 300 | Unconsolidated Sedimentary Rock | 1
Fine Sand | Open Hole |  | Medium Sand | 1 | 20 | 70 | 200 | Unconsolidated Sedimentary Rock | 1,5
Open Hole |  |  | Fine Sand | 0.05 | 3 | 20 | 20 | Unconsolidated Sedimentary Rock | 1,5
|  |  | Gulf Coast Aquifer Systems (6603 values) | 2 | 30 | 200 | 800 | Unconsolidated Sedimentary Rock | 2
|  |  | Stream Terrace Deposit, Fort Worth, Texas (59 values) | 0.01 | 1 | 100 | 300 | Unconsolidated Sedimentary Rock | 3
|  |  | Surficial Aquifer, central Florida (fine sand and silt, 55 values) | 0.01 | 0.1 | 30 | 50 | Unconsolidated Sedimentary Rock | 4
|  |  | Silt, Loess | 0.0003 | 0.001 | 0.1 | 6 | Unconsolidated Sedimentary Rock | 5
|  |  | Till | 3e-07 | 0.003 | 0.3 | 0.6 | Unconsolidated Sedimentary Rock | 1,5
|  |  | Clay soils (surface) | 0.01 | 0.01 | 1 | 1 | Unconsolidated Sedimentary Rock | 1
|  |  | Clay | 1e-06 | 1e-05 | 0.0001 | 0.001 | Unconsolidated Sedimentary Rock | 5,7
|  |  | Unweathered Marine Clay | 2e-07 | 2e-07 | 0.0006 | 0.0006 | Carbonate Rocks | 5
|  |  | Karst | 0.3 | 10 | 1000 | 10000 | Carbonate Rocks | 4,5,8
|  |  | Reef Limestone | 0.3 | 10 | 1000 | 6000 | Carbonate Rocks | 5
|  |  | Limestone, Dolomite | 0.0003 | 0.004 | 0.1 | 2 | Carbonate Rocks | 5
|  |  | Fine-Grained Sandstone | 0.0001 | 0.001 | 1 | 6 | Indurated Sedimentary Rock | 1,6
|  |  | Medium-Grained Sandstone | 0.001 | 1 | 10 | 80 | Indurated Sedimentary Rock | 6,9
|  |  | Siltstone | 1e-06 | 1e-05 | 0.005 | 0.04 | Indurated Sedimentary Rock | 6
|  |  | Claystone | 3e-09 | 1e-06 | 1e-05 | 3e-05 | Indurated Sedimentary Rock | 6,7,10
|  |  | Anhydrite | 1e-07 | 1e-07 | 0.006 | 0.006 | Indurated Sedimentary Rock | 5
|  |  | Shale | 1e-08 | 1e-07 | 0.0001 | 1 | Metamorphic or Volcanic Rock | 7
|  |  | Permeable Basalt | 0.1 | 1 | 100 | 6000 | Metamorphic or Volcanic Rock | 5
|  |  | Fractured Igneous and Metamorphic Rock | 0.001 | 0.05 | 10 | 100 | Metamorphic or Volcanic Rock | 1
|  |  | Weathered Granite | 0.1 | 1 | 10 | 20 | Metamorphic or Volcanic Rock | 6
|  |  | Weathered Gabbro | 0.1 | 0.1 | 1 | 1 | Metamorphic or Volcanic Rock | 6
|  |  | Basalt | 0 | 0.03 | 0.1 | 0.1 | Metamorphic or Volcanic Rock | 5
|  |  | Unfractured Igneous and Metamorphic Rock | 0 | 9e-09 | 6e-05 | 6e-05 | Metamorphic or Volcanic Rock | 1,5
|  |  | Unfractured Igneous and Metamorphic Rock | 0 | 9e-09 | 6e-05 | 6e-05
1 Bouwer, 1978 (order of magnitude in meter/day)
2 Prudic, 1991
3 Sonia A. Jones, USGS, Written commun., 1998
4 Slug Test Results1998-2001, Orlando Subdistrict, USGS
5 Domenico and Schwartz, 1990
6 Morris and Johnson, 1967
7 Wolff, 1982
8 Reese and Cunningham, 2000
9 Kuniansky and Hamrick, 1998
10 Neuzil, 1994

## OUTPUT
|  | WELL ID: | Half Moon Lake |  |  |  |  | Annular Fill | GROUTS | Aquifer Material |  |  | Reduced Data |  |  |  | 1 | 11 | 1 | 100
|  |  |  | Local ID: | HML-Augmentation |  |  | Gravel | Bentonite | Gravel |  |  | Time, | Water Level
| INPUT |  |  | Date: | 2000-04-19 |  |  | Coarse Sand | Cement | Sand and Gravel Mixes | Entry | Entry | Date Hr:Min:Sec | Feet | Entry | Inch
Construction: |  |  |  | Time: | 2653:49 |  |  | Medium Sand | Backfill | Coarse Sand | 1 | 1 | 1900-04-19 13:49 | 28.92 | 51 | Feet
Casing dia. (dc) | 8 | Inch | [5 empty] | Fine Sand | Open Hole | Medium Sand | 2 | 2 | 1900-04-19 13:51 | 41.25 | 52 | Meter
Annulus dia. (dw) | 8 | Inch |  |  | COMPUTED |  |  | Open Hole | 0 | Fine Sand | 3 | 3 | 1900-04-19 13:52 | 41.4 | 53 | cm
Screen Length (L) | 200 | Feet | [5 empty] | 0 | 0 | Gulf Coast Aquifer Systems (6603 values) | 4 | 4 | 1900-04-19 13:53 | 41.5 | 54 | mm
Depths to: |  |  |  | Aquifer thickness = | 320 | Feet |  | 0 | 0 | Stream Terrace Deposit, Fort Worth, Texas (59 values) | 5 | 5 | 1900-04-19 13:54 | 41.65 | 55
water level (DTW) | 29 | Feet | [5 empty] | 0 | 0 | Surficial Aquifer, central Florida (fine sand and silt, 55 values) | 6 | 6 | 1900-04-19 13:59 | 41.87 | 56
Top of Aquifer | 80 | Feet |  | Slope = | 0.97759 | Feet/log10 |  | 0 | 0 | Silt, Loess | 7 | 7 | 1900-04-19 14:07 | 42.08 | 57
Base of Aquifer | 400 | Feet | [5 empty] | 0 | 0 | Till | 8 | 8 | 1900-04-19 14:31 | 42.38 | 58
Annular Fill: |  |  |  |  | Input is consistent. |  |  | 0 | 0 | Clay soils (surface) | 9 | 9 | 1900-04-19 15:04 | 42.65 | 59
across screen -- | Open Hole | [6 empty] | 0 | 0 | Clay | 10 | 10 | 1900-04-19 22:50 | 43.48 | 60 | GPM
above screen -- | Cement |  |  | K = | 89 | Feet/Day |  | 0 | 0 | Unweathered Marine Clay | 11 | 11 | 1900-04-20 10:44 | 43.89 | 61 | ft3/d
Aquifer Material -- | Karst |  |  | T = | 28000 | Feet²/Day |  | 0 | 0 | Karst | 12 |  |  |  | 62 | ft3/s
FLOW RATE | 790 | GPM | [5 empty] | 0 | 0 | Reef Limestone | 13 |  |  |  | 63 | m3/d
[8 empty] | 0 | 0 | Limestone, Dolomite | 14 |  |  |  | 64 | m3/s
[8 empty] | 0 | 0 | Fine-Grained Sandstone | 15 |  |  |  | 65 | liters/s
[8 empty] | 0 | 0 | Medium-Grained Sandstone | 16 |  |  |  | 66 | liters/min
[8 empty] | 0 | 0 | Siltstone | 17 |  |  |  | 67 | cc/s
[8 empty] | 0 | 0 | Claystone | 18 |  |  |  | 68
[8 empty] | 0 | 0 | Anhydrite | 19 |  |  |  | 69
[8 empty] | 0 | 0 | Shale | 20 |  |  |  | 70
[8 empty] | 0 | 0 | Permeable Basalt | 21 |  |  |  | 71
DRAWDOWN, IN FEET | [7 empty] | 0 | 0 | Fractured Igneous and Metamorphic Rock | 22 |  |  |  | 72
[8 empty] | 0 | 0 | Weathered Granite | 23 |  |  |  | 73
[8 empty] | 0 | 0 | Weathered Gabbro | 24 |  |  |  | 74
[8 empty] | 0 | 0 | Basalt | 25 |  |  |  | 75
[8 empty] | 0 | 0 | Unfractured Igneous and Metamorphic Rock | 26 |  |  |  | 76
[8 empty] | 0 | 0 | Unfractured Igneous and Metamorphic Rock | 27 |  |  |  | 77
[11 empty] | 28 |  |  |  | 78
[11 empty] | 29 |  |  |  | 79
[11 empty] | 30 |  |  |  | 80
[11 empty] | 31 |  |  |  | 81
[11 empty] | 32 |  |  |  | 82
[11 empty] | 33 |  |  |  | 83
[11 empty] | 34 |  |  |  | 84
[11 empty] | 35 |  |  |  | 85
[11 empty] | 36 |  |  |  | 86
[11 empty] | 37 |  |  |  | 87
[11 empty] | 38 |  |  |  | 88
[11 empty] | 39 |  |  |  | 89
[11 empty] | 40 |  |  |  | 90
[11 empty] | 41 |  |  |  | 91
[11 empty] | 42 |  |  |  | 92
[11 empty] | 43 |  |  |  | 93
[11 empty] | 44 |  |  |  | 94
[11 empty] | 45 |  |  |  | 95
REMARKS: | [6 empty] | Cooper-Jacob analysis of single-well aquifer test |  |  |  | 46 |  |  |  | 96
[11 empty] | 47 |  |  |  | 97
[11 empty] | 48 |  |  |  | 98
[11 empty] | 49 |  |  |  | 99
[11 empty] | 50 |  |  |  | 100
101
Half-Moon Lake test in North Tampa, FL

## DATA
|  |  | Number of points = | 11
[13 empty] | 1 | 1
|  |  | INPUT |  |  |  |  | Final water level, in Feet = | 43.89
|  | Overwrite with your data here. | [10 empty] | 1 | 2 | 3 | 4 | 5
[10 empty] | Drawdown |  |  |  | c1a-mult | c1a-div | c1b-m | c1b-div
| Day | HourMinute | Second | Feet |  |  |  | Hr:Min:Sec | Dt, days | Feet |  |  | Empty | 0 | 1 | 0 | 1 | Inch | 0.083333
1 | 110 | 1349 | 0 | 28.92 | 110 | 0.57569 | 0 | 2653:49 |  |  | 0 |  | HourMinute | 0.041667 | 100 | 0.00069444 | 100 | Feet | 1
2 | 110 | 1350 | 50 | 41.25 | 110 | 0.57639 | 0.0005787 | 2653:51 | 0:02 | 12.33 | 12.33 |  | Hour | 0 | 1 | 0.041667 | 99999999 | Meter | 3.2808
3 | 110 | 1351 | 45 | 41.4 | 110 | 0.57708 | 0.00052083 | 2653:52 | 0:03 | 12.48 | 12.48 |  | Minute | 0 | 1 | 0.00069444 | 99999999 | cm | 0.032808
4 | 110 | 1353 | 0 | 41.5 | 110 | 0.57847 | 0 | 2653:53 | 0:04 | 12.58 | 12.58 |  | Second | 0 | 1 | 1.1574e-05 | 99999999 | mm | 0.0032808
5 | 110 | 1354 | 0 | 41.65 | 110 | 0.57917 | 0 | 2653:54 | 0:05 | 12.73 | 12.73 |  | Day | 0 | 1 | 1 | 99999999 | PSI | 2.31
6 | 110 | 1359 | 0 | 41.87 | 110 | 0.58264 | 0 | 2653:59 | 0:10 | 12.95 | 12.95 |  | DateTime | 0 | 1 | 1 | 99999999
7 | 110 | 1407 | 0 | 42.08 | 110 | 0.58819 | 0 | 2654:07 | 0:18 | 13.16 | 13.16
8 | 110 | 1431 | 0 | 42.38 | 110 | 0.60486 | 0 | 2654:31 | 0:42 | 13.46 | 13.46
9 | 110 | 1504 | 0 | 42.65 | 110 | 0.62778 | 0 | 2655:04 | 1:15 | 13.73 | 13.73 | 2 | c1a-mult | 0 | 0.041667 | 0
10 | 110 | 2250 | 0 | 43.48 | 110 | 0.95139 | 0 | 2662:50 | 9:01 | 14.56 | 14.56 | 3 | c1a-div | 1 | 100 | 1
11 | 111 | 1044 | 0 | 43.89 | 111 | 0.44722 | 0 | 2674:44 | 20:55 | 14.97 | 14.97 | 4 | c1b-m | 1 | 0.00069444 | 1.1574e-05
12 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92 | 5 | c1b-div | 99999999 | 100 | 99999999
13 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
14 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
15 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
16 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
17 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
18 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
19 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
20 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
21 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
22 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
23 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
24 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
25 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
26 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
27 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
28 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
29 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
30 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
31 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
32 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
33 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
34 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
35 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
36 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
37 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
38 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
39 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
40 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
41 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
42 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
43 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
44 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
45 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
46 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
47 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
48 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
49 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
50 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
51 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
52 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
53 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
54 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
55 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
56 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
57 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
58 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
59 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
60 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
61 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
62 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
63 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
64 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
65 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
66 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
67 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
68 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
69 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
70 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
71 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
72 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
73 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
74 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
75 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
76 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
77 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
78 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
79 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
80 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
81 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
82 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
83 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
84 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
85 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
86 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
87 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
88 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
89 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
90 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
91 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
92 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
93 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
94 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
95 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
96 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
97 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
98 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
99 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
100 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
101 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
102 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
103 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
104 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
105 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
106 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
107 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
108 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
109 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
110 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
111 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
112 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
113 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
114 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
115 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
116 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
117 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
118 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
119 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
120 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
121 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
122 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
123 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
124 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
125 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
126 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
127 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
128 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
129 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
130 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
131 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
132 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
133 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
134 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
135 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
136 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
137 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
138 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
139 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
140 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
141 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
142 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
143 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
144 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
145 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
146 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
147 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
148 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
149 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
150 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
151 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
152 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
153 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
154 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
155 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
156 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
157 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
158 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
159 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
160 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
161 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
162 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
163 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
164 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
165 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
166 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
167 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
168 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
169 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
170 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
171 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
172 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
173 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
174 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
175 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
176 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
177 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
178 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
179 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
180 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
181 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
182 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
183 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
184 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
185 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
186 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
187 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
188 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
189 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
190 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
191 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
192 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
193 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
194 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
195 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
196 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
197 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
198 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
199 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
200 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
201 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
202 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
203 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
204 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
205 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
206 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
207 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
208 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
209 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
210 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
211 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
212 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
213 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
214 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
215 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
216 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
217 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
218 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
219 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
220 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
221 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
222 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
223 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
224 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
225 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
226 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
227 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
228 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
229 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
230 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
231 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
232 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
233 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
234 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
235 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
236 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
237 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
238 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
239 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
240 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
241 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
242 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
243 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
244 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
245 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
246 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
247 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
248 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
249 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
250 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
251 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
252 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
253 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
254 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
255 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
256 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
257 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
258 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
259 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
260 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
261 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
262 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
263 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
264 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
265 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
266 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
267 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
268 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
269 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
270 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
271 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
272 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
273 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
274 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
275 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
276 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
277 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
278 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
279 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
280 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
281 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
282 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
283 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
284 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
285 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
286 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
287 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
288 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
289 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
290 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
291 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
292 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
293 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
294 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
295 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
296 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
297 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
298 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
299 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
300 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
301 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
302 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
303 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
304 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
305 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
306 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
307 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
308 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
309 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
310 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
311 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
312 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
313 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
314 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
315 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
316 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
317 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
318 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
319 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
320 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
321 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
322 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
323 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
324 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
325 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
326 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
327 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
328 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
329 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
330 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
331 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
332 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
333 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
334 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
335 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
336 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
337 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
338 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
339 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
340 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
341 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
342 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
343 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
344 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
345 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
346 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
347 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
348 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
349 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
350 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
351 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
352 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
353 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
354 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
355 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
356 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
357 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
358 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
359 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
360 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
361 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
362 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
363 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
364 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
365 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
366 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
367 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
368 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
369 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
370 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
371 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
372 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
373 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
374 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
375 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
376 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
377 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
378 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
379 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
380 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
381 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
382 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
383 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
384 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
385 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
386 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
387 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
388 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
389 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
390 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
391 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
392 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
393 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
394 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
395 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
396 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
397 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
398 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
399 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
400 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
401 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
402 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
403 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
404 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
405 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
406 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
407 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
408 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
409 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
410 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
411 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
412 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
413 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
414 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
415 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
416 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
417 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
418 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
419 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
420 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
421 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
422 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
423 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
424 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
425 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
426 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
427 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
428 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
429 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
430 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
431 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
432 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
433 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
434 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
435 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
436 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
437 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
438 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
439 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
440 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
441 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
442 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
443 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
444 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
445 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
446 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
447 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
448 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
449 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
450 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
451 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
452 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
453 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
454 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
455 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
456 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
457 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
458 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
459 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
460 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
461 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
462 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
463 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
464 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
465 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
466 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
467 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
468 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
469 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
470 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
471 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
472 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
473 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
474 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
475 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
476 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
477 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
478 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
479 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
480 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
481 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
482 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
483 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
484 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
485 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
486 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
487 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
488 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
489 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
490 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
491 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
492 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
493 |  |  |  |  | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 | 0:00 | 20:55 | 14.97 | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
[5 empty] | 0 | 0 | 0 |  |  |  | -28.92
Note on K7: Keith J Halford: The entries are decimal days but the column is formatted to appear as H:M:S