## COMPUTATION
| Inch | 0.083333 | Second | 1.1574e-05 |  |  | GPM | 192.5134
| Feet | 1 | Minute | 0.00069444 |  |  | ft3/d | 1
| Meter | 3.2808 | Hour | 0.041667 |  |  | ft3/s | 86400
| cm | 0.032808 | Day | 1 |  |  | m3/d | 35.3952
| mm | 0.0032808 |  |  |  |  | m3/s | 3058149.2
| PSI | 2.31 |  |  |  |  | liters/s | 3058.1492
[7 empty] | liters/min | 50.9692
| Out Units = | [5 empty] | cc/s | 3.0581
| Convert = | 1 | Feet2/Day
| Convert = | 1 | Feet/Day
Casing dia. (dc) | 8 | Inch
Annulus dia. (dw) | 8 | Inch
Screen Length (L) | 800 | Feet
Depths to:
water level (DTW) | 29 | Feet
Top of Aquifer | 100 | Feet
Base of Aquifer | 1100 | Feet
Annular Fill:
across screen -- | Open Hole
above screen -- | Cement
Aquifer Material -- | Medium-Grained Sandstone
wetted hole | 800 | Feet
Aquifer thickness = | 1000 | Feet
Aquifer thickness = | 1000 | feet
Aquifer thickness = | 1000 | Feet | 100
Aquifer thickness = | 1000 | Feet | 10
Fraction penetrated = | 0.8
slope points | 2.4547 | 1.79
| 26915.348 | 18.78
FLOW RATE | 600 | GPM
FLOW RATE | 115508.0214 | ft3/d
Rc = | 0.33333 | ft
Rw = | 0.33333 | ft
Slope = | 4.2054 | Feet | /log10
Slope = | 4.2054 | feet/log10
T = | 5027.1067 | ft2/d
| 5027.1067 | Feet2/Day | 100
| 5000 | Feet2/Day | 50
K = | 5.0271 | ft/d
| 5.0271 | Feet/Day | 0.1
K = | 5 | Feet/Day | 50
Absolute Shut Down
Input is consistent.
Decision | Option
0 | Water level is below Base of Aquifer
0 | Casing diameter is greater than the Annulus
0 | Top of Aquifer is deeper than Base of Aquifer
0 | Screen length is less than 1 Feet |  |  |  | 1
0 | Slope will produce a negative K
0 | K= 5 is less than extreme minimum of 0.001 for Medium-Grained Sandstone |  |  |  | 0.001 | -3 | 0.001
0 | K= 5 is greater than extreme maximum of 80 for Medium-Grained Sandstone |  |  |  | 80 | 1 | 80
1 | Input is consistent.
Error
WARNING
Decision | Option
0
0 | K= 5 is less than likely minimum of 1 for Medium-Grained Sandstone |  |  |  | 1 | 0 | 1
0 | K= 5 is greater than likely maximum of 10 for Medium-Grained Sandstone |  |  |  | 10 | 1 | 10
1

## DEFAULT PROPERTIES and SETTINGS
[10 empty] | Inch | Second
|  | Significant Digits = | 2 | [6 empty] | Feet | Minute
[10 empty] | Meter | Hour
|  | Output Length = | Feet | [6 empty] | cm | Day
|  | Output Time = | Day | [6 empty] | mm
|  | Number of points in list = | 100
Common Rock Properties
|  |  |  | Extreme | Likely | Likely | Extreme
Annular Fill | GROUTS |  | Aquifer Material | Kmin, ft/d | Kmin, ft/d | Kmax, ft/d | Kmax, ft/d | Rock Type | References
Gravel | Bentonite |  | Gravel | 90 | 300 | 3000 | 3000 | Unconsolidated Sedimentary Rock | 1,5
Coarse Sand | Cement |  | Sand and Gravel Mixes | 1 | 30 | 300 | 300 | Unconsolidated Sedimentary Rock | 1
Medium Sand | Backfill |  | Coarse Sand | 50 | 70 | 300 | 300 | Unconsolidated Sedimentary Rock | 1
Fine Sand | Open Hole |  | Medium Sand | 1 | 20 | 70 | 200 | Unconsolidated Sedimentary Rock | 1,5
Open Hole |  |  | Fine Sand | 0.05 | 3 | 20 | 20 | Unconsolidated Sedimentary Rock | 1,5
|  |  | Gulf Coast Aquifer Systems (6603 values) | 2 | 30 | 200 | 800 | Unconsolidated Sedimentary Rock | 2
|  |  | Stream Terrace Deposit, Fort Worth, Texas (59 values) | 0.01 | 1 | 100 | 300 | Unconsolidated Sedimentary Rock | 3
|  |  | Surficial Aquifer, central Florida (fine sand and silt, 55 values) | 0.01 | 0.1 | 30 | 50 | Unconsolidated Sedimentary Rock | 4
|  |  | Silt, Loess | 0.0003 | 0.001 | 0.1 | 6 | Unconsolidated Sedimentary Rock | 5
|  |  | Till | 3e-07 | 0.003 | 0.3 | 0.6 | Unconsolidated Sedimentary Rock | 1,5
|  |  | Clay soils (surface) | 0.01 | 0.01 | 1 | 1 | Unconsolidated Sedimentary Rock | 1
|  |  | Clay | 1e-06 | 1e-05 | 0.0001 | 0.001 | Unconsolidated Sedimentary Rock | 5,7
|  |  | Unweathered Marine Clay | 2e-07 | 2e-07 | 0.0006 | 0.0006 | Carbonate Rocks | 5
|  |  | Karst | 0.3 | 10 | 1000 | 10000 | Carbonate Rocks | 4,5,8
|  |  | Reef Limestone | 0.3 | 10 | 1000 | 6000 | Carbonate Rocks | 5
|  |  | Limestone, Dolomite | 0.0003 | 0.004 | 0.1 | 2 | Carbonate Rocks | 5
|  |  | Fine-Grained Sandstone | 0.0001 | 0.001 | 1 | 6 | Indurated Sedimentary Rock | 1,6
|  |  | Medium-Grained Sandstone | 0.001 | 1 | 10 | 80 | Indurated Sedimentary Rock | 6,9
|  |  | Siltstone | 1e-06 | 1e-05 | 0.005 | 0.04 | Indurated Sedimentary Rock | 6
|  |  | Claystone | 3e-09 | 1e-06 | 1e-05 | 3e-05 | Indurated Sedimentary Rock | 6,7,10
|  |  | Anhydrite | 1e-07 | 1e-07 | 0.006 | 0.006 | Indurated Sedimentary Rock | 5
|  |  | Shale | 1e-08 | 1e-07 | 0.0001 | 1 | Metamorphic or Volcanic Rock | 7
|  |  | Permeable Basalt | 0.1 | 1 | 100 | 6000 | Metamorphic or Volcanic Rock | 5
|  |  | Fractured Igneous and Metamorphic Rock | 0.001 | 0.05 | 10 | 100 | Metamorphic or Volcanic Rock | 1
|  |  | Weathered Granite | 0.1 | 1 | 10 | 20 | Metamorphic or Volcanic Rock | 6
|  |  | Weathered Gabbro | 0.1 | 0.1 | 1 | 1 | Metamorphic or Volcanic Rock | 6
|  |  | Basalt | 0 | 0.03 | 0.1 | 0.1 | Metamorphic or Volcanic Rock | 5
|  |  | Unfractured Igneous and Metamorphic Rock | 0 | 9e-09 | 6e-05 | 6e-05 | Metamorphic or Volcanic Rock | 1,5
|  |  | Unfractured Igneous and Metamorphic Rock | 0 | 9e-09 | 6e-05 | 6e-05
1 Bouwer, 1978 (order of magnitude in meter/day)
2 Prudic, 1991
3 Sonia A. Jones, USGS, Written commun., 1998
4 Slug Test Results1998-2001, Orlando Subdistrict, USGS
5 Domenico and Schwartz, 1990
6 Morris and Johnson, 1967
7 Wolff, 1982
8 Reese and Cunningham, 2000
9 Kuniansky and Hamrick, 1998
10 Neuzil, 1994

## OUTPUT
|  | WELL ID: | Hypo-Recovery |  |  |  |  | Annular Fill | GROUTS | Aquifer Material |  |  | Reduced Data |  |  |  | 1 | 31 | 1 | 100
|  |  |  | Local ID: | Hypo-1 |  |  | Gravel | Bentonite | Gravel |  |  | Time, | Water Level
| INPUT |  |  | Date: | 2001-04-04 |  |  | Coarse Sand | Cement | Sand and Gravel Mixes | Entry | Entry | Date Hr:Min:Sec | Feet | Entry | Inch
Construction: |  |  |  | Time: | 0:00 |  |  | Medium Sand | Backfill | Coarse Sand | 1 | 1 | 0 | 0 | 51 | Feet
Casing dia. (dc) | 8 | Inch | [5 empty] | Fine Sand | Open Hole | Medium Sand | 2 | 2 | 1899-12-31 12:00 | 40.7224 | 52 | Meter
Annulus dia. (dw) | 8 | Inch |  |  | COMPUTED |  |  | Open Hole | 0 | Fine Sand | 3 | 3 | 1899-12-31 12:00 | 19.7833 | 53 | cm
Screen Length (L) | 800 | Feet | [5 empty] | 0 | 0 | Gulf Coast Aquifer Systems (6603 values) | 4 | 4 | 1899-12-31 12:00 | 17.5521 | 54 | mm
Depths to: |  |  |  | Aquifer thickness = | 1000 | Feet |  | 0 | 0 | Stream Terrace Deposit, Fort Worth, Texas (59 values) | 5 | 5 | 1899-12-31 12:00 | 16.3584 | 55
water level (DTW) | 29 | Feet | [5 empty] | 0 | 0 | Surficial Aquifer, central Florida (fine sand and silt, 55 values) | 6 | 6 | 1899-12-31 12:01 | 15.4698 | 56
Top of Aquifer | 100 | Feet |  | Slope = | 4.2054 | Feet/log10 |  | 0 | 0 | Silt, Loess | 7 | 7 | 1899-12-31 12:01 | 14.7267 | 57
Base of Aquifer | 1100 | Feet | [5 empty] | 0 | 0 | Till | 8 | 8 | 1899-12-31 12:01 | 14.0665 | 58
Annular Fill: |  |  |  |  | Input is consistent. |  |  | 0 | 0 | Clay soils (surface) | 9 | 9 | 1899-12-31 12:01 | 13.4587 | 59
across screen -- | Open Hole | [6 empty] | 0 | 0 | Clay | 10 | 10 | 1899-12-31 12:02 | 12.8858 | 60 | GPM
above screen -- | Cement |  |  | K = | 5 | Feet/Day |  | 0 | 0 | Unweathered Marine Clay | 11 | 11 | 1899-12-31 12:03 | 12.3373 | 61 | ft3/d
Aquifer Material -- | Medium-Grained Sandstone |  |  | T = | 5000 | Feet²/Day |  | 0 | 0 | Karst | 12 | 12 | 1899-12-31 12:04 | 11.8062 | 62 | ft3/s
FLOW RATE | 600 | GPM | [5 empty] | 0 | 0 | Reef Limestone | 13 | 13 | 1899-12-31 12:05 | 11.288 | 63 | m3/d
[8 empty] | 0 | 0 | Limestone, Dolomite | 14 | 14 | 1899-12-31 12:06 | 10.7793 | 64 | m3/s
[8 empty] | 0 | 0 | Fine-Grained Sandstone | 15 | 15 | 1899-12-31 12:08 | 10.278 | 65 | liters/s
[8 empty] | 0 | 0 | Medium-Grained Sandstone | 16 | 16 | 1899-12-31 12:11 | 9.7824 | 66 | liters/min
[8 empty] | 0 | 0 | Siltstone | 17 | 17 | 1899-12-31 12:14 | 9.2914 | 67 | cc/s
RESIDUAL DRAWDOWN, IN FEET | [7 empty] | 0 | 0 | Claystone | 18 | 18 | 1899-12-31 12:18 | 8.8044 | 68
[8 empty] | 0 | 0 | Anhydrite | 19 | 19 | 1899-12-31 12:24 | 8.3208 | 69
[8 empty] | 0 | 0 | Shale | 20 | 20 | 1899-12-31 12:31 | 7.8404 | 70
[8 empty] | 0 | 0 | Permeable Basalt | 21 | 21 | 1899-12-31 12:40 | 7.3634 | 71
[8 empty] | 0 | 0 | Fractured Igneous and Metamorphic Rock | 22 | 22 | 1899-12-31 12:52 | 6.8899 | 72
[8 empty] | 0 | 0 | Weathered Granite | 23 | 23 | 1899-12-31 13:08 | 6.4205 | 73
[8 empty] | 0 | 0 | Weathered Gabbro | 24 | 24 | 1899-12-31 13:28 | 5.9558 | 74
[8 empty] | 0 | 0 | Basalt | 25 | 25 | 1899-12-31 13:55 | 5.4968 | 75
[8 empty] | 0 | 0 | Unfractured Igneous and Metamorphic Rock | 26 | 26 | 1899-12-31 14:29 | 5.0447 | 76
[8 empty] | 0 | 0 | Unfractured Igneous and Metamorphic Rock | 27 | 27 | 1899-12-31 15:14 | 4.6013 | 77
[11 empty] | 28 | 28 | 1899-12-31 16:12 | 4.1682 | 78
[11 empty] | 29 | 29 | 1899-12-31 17:28 | 3.7477 | 79
[11 empty] | 30 | 30 | 1899-12-31 19:06 | 3.3423 | 80
[11 empty] | 31 | 31 | 1899-12-31 21:14 | 2.9547 | 81
[11 empty] | 32 |  |  |  | 82
[11 empty] | 33 |  |  |  | 83
[11 empty] | 34 |  |  |  | 84
[11 empty] | 35 |  |  |  | 85
[11 empty] | 36 |  |  |  | 86
[11 empty] | 37 |  |  |  | 87
[11 empty] | 38 |  |  |  | 88
[11 empty] | 39 |  |  |  | 89
[11 empty] | 40 |  |  |  | 90
[11 empty] | 41 |  |  |  | 91
[11 empty] | 42 |  |  |  | 92
[11 empty] | 43 |  |  |  | 93
[11 empty] | 44 |  |  |  | 94
[11 empty] | 45 |  |  |  | 95
REMARKS: | [6 empty] | Cooper-Jacob recovery analysis of single-well aquifer test |  |  |  | 46 |  |  |  | 96
[11 empty] | 47 |  |  |  | 97
[11 empty] | 48 |  |  |  | 98
[11 empty] | 49 |  |  |  | 99
[11 empty] | 50 |  |  |  | 100
101
Hypothetical recovery test

## DATA
|  |  | Number of points = | 31
[14 empty] | 1 | 1
|  |  | INPUT |  |  |  |  | Final water level, in Feet = | 40.7224
[8 empty] | Production Time = | 36:00
|  | Overwrite with your data here. | [11 empty] | 1 | 2 | 3 | 4 | 5
[11 empty] | Drawdown |  |  |  | c1a-mult | c1a-div | c1b-m | c1b-div
| Empty | Empty | Day | Feet |  |  |  | Hr:Min:Sec | Dt, days | (t+Dt/Dt), d | Feet |  |  | Empty | 0 | 1 | 0 | 1 | Inch | 0.083333
1 |  |  | 0 | 0 | 0 | 0 | 0 | 0:00 |  |  |  | 0 |  | HourMinute | 0.041667 | 100 | 0.00069444 | 100 | Feet | 1
2 |  |  | 1.5 | 40.7224 | 0 | 0 | 1.5 | 36:00 | 36:00 |  |  | 40.7224 |  | Hour | 0 | 1 | 0.041667 | 99999999 | Meter | 3.2808
3 |  |  | 1.5001 | 19.7833 | 0 | 0 | 1.5001 | 36:00 | 36:00 | 25001 | 19.7833 | 19.7833 |  | Minute | 0 | 1 | 0.00069444 | 99999999 | cm | 0.032808
4 |  |  | 1.5001 | 17.5521 | 0 | 0 | 1.5001 | 36:00 | 36:00 | 11539.4615 | 17.5521 | 17.5521 |  | Second | 0 | 1 | 1.1574e-05 | 99999999 | mm | 0.0032808
5 |  |  | 1.5002 | 16.3584 | 0 | 0 | 1.5002 | 36:00 | 36:00 | 6522.7391 | 16.3584 | 16.3584 |  | Day | 0 | 1 | 1 | 99999999 | PSI | 2.31
6 |  |  | 1.5004 | 15.4698 | 0 | 0 | 1.5004 | 36:01 | 36:01 | 4286.7143 | 15.4698 | 15.4698 |  | DateTime | 0 | 1 | 1 | 99999999
7 |  |  | 1.5005 | 14.7267 | 0 | 0 | 1.5005 | 36:01 | 36:01 | 2885.6154 | 14.7267 | 14.7267
8 |  |  | 1.5007 | 14.0665 | 0 | 0 | 1.5007 | 36:01 | 36:01 | 2055.7945 | 14.0665 | 14.0665
9 |  |  | 1.501 | 13.4587 | 0 | 0 | 1.501 | 36:01 | 36:01 | 1486.1485 | 13.4587 | 13.4587 | 2 | c1a-mult | 0 | 0 | 0
10 |  |  | 1.5014 | 12.8858 | 0 | 0 | 1.5014 | 36:02 | 36:02 | 1095.8905 | 12.8858 | 12.8858 | 3 | c1a-div | 1 | 1 | 1
11 |  |  | 1.5018 | 12.3373 | 0 | 0 | 1.5018 | 36:03 | 36:03 | 820.6721 | 12.3373 | 12.3373 | 4 | c1b-m | 0 | 0 | 1
12 |  |  | 1.5024 | 11.8062 | 0 | 0 | 1.5024 | 36:04 | 36:04 | 615.7541 | 11.8062 | 11.8062 | 5 | c1b-div | 1 | 1 | 99999999
13 |  |  | 1.5032 | 11.288 | 0 | 0 | 1.5032 | 36:05 | 36:05 | 465.3963 | 11.288 | 11.288
14 |  |  | 1.5043 | 10.7793 | 0 | 0 | 1.5043 | 36:06 | 36:06 | 353.1127 | 10.7793 | 10.7793
15 |  |  | 1.5056 | 10.278 | 0 | 0 | 1.5056 | 36:08 | 36:08 | 269.3363 | 10.278 | 10.278
16 |  |  | 1.5073 | 9.7824 | 0 | 0 | 1.5073 | 36:11 | 36:11 | 205.6385 | 9.7824 | 9.7824
17 |  |  | 1.5096 | 9.2914 | 0 | 0 | 1.5096 | 36:14 | 36:14 | 157.5762 | 9.2914 | 9.2914
18 |  |  | 1.5125 | 8.8044 | 0 | 0 | 1.5125 | 36:18 | 36:18 | 120.9041 | 8.8044 | 8.8044
19 |  |  | 1.5163 | 8.3208 | 0 | 0 | 1.5163 | 36:24 | 36:24 | 92.9118 | 8.3208 | 8.3208
20 |  |  | 1.5213 | 7.8404 | 0 | 0 | 1.5213 | 36:31 | 36:31 | 71.4887 | 7.8404 | 7.8404
21 |  |  | 1.5277 | 7.3634 | 0 | 0 | 1.5277 | 36:40 | 36:40 | 55.1126 | 7.3634 | 7.3634
22 |  |  | 1.5361 | 6.8899 | 0 | 0 | 1.5361 | 36:52 | 36:52 | 42.5628 | 6.8899 | 6.8899
23 |  |  | 1.547 | 6.4205 | 0 | 0 | 1.547 | 37:08 | 37:08 | 32.9285 | 6.4205 | 6.4205
24 |  |  | 1.5611 | 5.9558 | 0 | 0 | 1.5611 | 37:28 | 37:28 | 25.5379 | 5.9558 | 5.9558
25 |  |  | 1.5795 | 5.4968 | 0 | 0 | 1.5795 | 37:55 | 37:55 | 19.8632 | 5.4968 | 5.4968
26 |  |  | 1.6034 | 5.0447 | 0 | 0 | 1.6034 | 38:29 | 38:29 | 15.5012 | 5.0447 | 5.0447
27 |  |  | 1.6345 | 4.6013 | 0 | 0 | 1.6345 | 39:14 | 39:14 | 12.1499 | 4.6013 | 4.6013
28 |  |  | 1.6749 | 4.1682 | 0 | 0 | 1.6749 | 40:12 | 40:12 | 9.5744 | 4.1682 | 4.1682
29 |  |  | 1.7275 | 3.7477 | 0 | 0 | 1.7275 | 41:28 | 41:28 | 7.594 | 3.7477 | 3.7477
30 |  |  | 1.7958 | 3.3423 | 0 | 0 | 1.7958 | 43:06 | 43:06 | 6.0713 | 3.3423 | 3.3423
31 |  |  | 1.8846 | 2.9547 | 0 | 0 | 1.8846 | 45:14 | 45:14 | 4.9005 | 2.9547 | 2.9547
32 |  |  | 2 | 2.5876 | 0 | 0 | 2 | 48:00 | 48:00 | 4 | 2.5876 | 2.5876
33 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
34 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
35 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
36 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
37 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
38 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
39 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
40 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
41 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
42 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
43 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
44 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
45 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
46 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
47 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
48 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
49 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
50 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
51 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
52 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
53 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
54 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
55 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
56 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
57 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
58 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
59 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
60 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
61 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
62 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
63 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
64 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
65 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
66 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
67 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
68 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
69 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
70 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
71 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
72 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
73 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
74 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
75 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
76 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
77 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
78 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
79 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
80 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
81 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
82 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
83 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
84 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
85 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
86 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
87 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
88 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
89 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
90 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
91 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
92 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
93 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
94 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
95 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
96 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
97 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
98 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
99 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
100 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
101 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
102 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
103 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
104 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
105 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
106 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
107 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
108 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
109 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
110 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
111 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
112 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
113 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
114 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
115 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
116 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
117 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
118 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
119 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
120 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
121 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
122 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
123 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
124 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
125 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
126 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
127 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
128 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
129 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
130 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
131 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
132 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
133 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
134 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
135 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
136 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
137 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
138 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
139 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
140 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
141 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
142 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
143 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
144 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
145 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
146 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
147 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
148 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
149 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
150 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
151 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
152 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
153 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
154 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
155 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
156 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
157 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
158 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
159 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
160 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
161 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
162 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
163 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
164 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
165 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
166 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
167 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
168 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
169 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
170 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
171 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
172 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
173 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
174 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
175 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
176 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
177 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
178 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
179 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
180 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
181 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
182 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
183 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
184 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
185 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
186 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
187 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
188 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
189 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
190 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
191 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
192 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
193 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
194 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
195 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
196 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
197 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
198 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
199 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
200 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
201 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
202 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
203 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
204 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
205 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
206 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
207 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
208 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
209 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
210 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
211 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
212 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
213 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
214 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
215 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
216 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
217 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
218 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
219 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
220 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
221 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
222 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
223 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
224 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
225 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
226 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
227 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
228 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
229 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
230 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
231 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
232 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
233 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
234 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
235 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
236 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
237 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
238 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
239 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
240 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
241 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
242 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
243 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
244 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
245 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
246 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
247 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
248 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
249 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
250 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
251 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
252 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
253 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
254 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
255 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
256 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
257 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
258 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
259 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
260 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
261 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
262 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
263 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
264 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
265 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
266 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
267 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
268 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
269 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
270 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
271 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
272 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
273 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
274 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
275 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
276 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
277 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
278 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
279 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
280 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
281 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
282 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
283 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
284 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
285 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
286 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
287 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
288 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
289 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
290 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
291 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
292 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
293 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
294 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
295 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
296 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
297 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
298 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
299 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
300 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
301 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
302 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
303 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
304 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
305 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
306 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
307 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
308 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
309 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
310 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
311 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
312 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
313 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
314 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
315 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
316 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
317 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
318 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
319 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
320 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
321 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
322 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
323 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
324 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
325 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
326 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
327 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
328 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
329 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
330 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
331 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
332 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
333 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
334 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
335 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
336 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
337 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
338 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
339 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
340 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
341 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
342 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
343 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
344 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
345 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
346 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
347 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
348 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
349 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
350 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
351 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
352 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
353 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
354 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
355 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
356 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
357 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
358 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
359 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
360 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
361 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
362 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
363 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
364 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
365 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
366 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
367 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
368 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
369 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
370 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
371 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
372 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
373 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
374 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
375 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
376 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
377 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
378 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
379 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
380 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
381 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
382 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
383 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
384 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
385 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
386 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
387 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
388 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
389 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
390 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
391 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
392 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
393 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
394 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
395 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
396 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
397 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
398 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
399 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
400 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
401 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
402 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
403 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
404 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
405 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
406 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
407 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
408 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
409 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
410 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
411 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
412 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
413 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
414 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
415 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
416 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
417 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
418 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
419 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
420 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
421 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
422 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
423 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
424 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
425 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
426 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
427 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
428 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
429 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
430 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
431 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
432 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
433 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
434 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
435 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
436 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
437 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
438 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
439 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
440 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
441 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
442 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
443 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
444 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
445 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
446 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
447 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
448 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
449 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
450 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
451 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
452 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
453 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
454 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
455 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
456 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
457 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
458 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
459 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
460 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
461 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
462 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
463 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
464 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
465 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
466 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
467 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
468 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
469 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
470 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
471 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
472 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
473 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
474 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
475 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
476 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
477 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
478 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
479 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
480 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
481 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
482 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
483 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
484 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
485 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
486 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
487 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
488 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
489 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
490 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
491 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
492 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
493 |  |  |  |  | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 | 0:00 | 48:00 | 4 | 2.5876 | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0
Note on K7: Keith J Halford: The entries are decimal days but the column is formatted to appear as H:M:S